**Blank cover 96x96mm**

for closing a cut-out of max. 96 x 96 mm according to DIN 43700 incl.clamping spring fastening.

Outer dimensions: W: 96 H: 96, D: 8mm (applied)

Material: black plastic

Manufacturer: Janitza electronics

Type: BA96

Art.no.: 2912001