**Voltage tap with fuse 6.3 A**

for tapping the measuring voltage of the multifunctional measuring instruments by means of clamps on current-carrying rails. incl. built-in fuse.

Colour: black

Back-up fuse (A): 6.3

Cross-section of connecting measuring cable (mm²): 1.5 - 4

Weight (kg): 0.2

Dimensions (mm): 71 x 78

Max. Operating voltage: 690 V

Test voltage / pulse: 3 kV / 50 Hz 6 kV

Short-circuit resistance 70 kA at 400 V / 50 Hz

Rated operating current In: max. 10 A

Insulation class: E (max. 120°)

Fuse type: 5 x 25 mm (with detector), 10 A SIBA DIN 41576-2

Ambient temperature: -5 to +40 °C

Primary fuse inside:-socket head screw M8

Hexagon socket: Number 6

Max. Rail thickness: 4 - 15 mm

Housing: Polyamide (PA6.6)

Terminal material: Nickel-plated brass

Delivery includes:

Mounting accessories, documentation, delivery, assembly as well as connection.

Manufacturer: Janitza electronics

Type: ZK 4 S

Art.no.: 1011525