**Adapter for DIN rail mounting for 96x96mm devices**

for placement of universal measuring devices (UMG) with interfaces and resulting deep design.

Dimension in mm (W x H x D): 85 x 113 x 90

Compatible with the following universal measuring devices (UMG) of the manufacturer:

UMG 96RM-E / UMG 96RM-CBM /

UMG 96RM-P / UMG 96RM-PN / UMG 96-PA

Manufacturer: Janitza electronics

Type: AH96P

Art.no. 5222667